Texas Department of Public Safety

Energy and Water Management Plan

FY 2022

Progress Report

During this past fiscal period, the Department has retrofitted many areas with new lighting fixtures that will reduce the light consumption by over 70%.  Additional floor renovation continues at TXDPS and the Department is switching out many shower heads and toilets, reducing the flow rate by 40%. TXDPS has also converted to DDC (Direct Digital Controls) / BAS (Building Automated Systems) in many buildings which allow for a greater control and maintenance of energy usage throughout.  Another tool TXDPS uses is Engie Platform services to monitor utility cost.  Using Engie Platform service helps DPS identify Utilities that have a sudden spikes in usage.  With the ongoing COVID-19 situation, our agency has a minimum number of staff coming into the office. While most of our staff is working remotely, our energy usage has slowly declined from previous years.

Goals

The energy conservation goals of the Department are aligned with Senate Bill 898 passed in 2011 by the 82nd Texas Legislative Session, which calls for a reduction of electrical consumption by 5% per annum for 10 years beginning September 1, 2011.  As the Department continues to grow to service the expanding needs of the citizenry of Texas, a ratio of occupied space (total square footage) relative to energy consumption, is the metric by which conservation measures must be judged. Regarding natural gas, and water, a reduction goal of 2% has been established, also utilizing ratios as the method for measurement.

Strategy for Achieving Goals

Electricity

During building renovations, TXDPS will transition from fluorescent bulbs to LED lighting wherever possible.  This reduces the amount of electricity used by the fixture itself, in addition to reducing the heat load on the HVAC system.

Occupancy sensors and dimmer switches are also being installed where feasible, to mitigate energy waste in unoccupied areas.

Other prospective conservation measures being considered include:

•	Solar film on windows

•	Reflective roof coatings

•	During roof replacements, insulation upgrades to IECC standards

•	Use of increased R-value insulation

•	Transition to on-site renewable energy sources (solar, wind, geothermal)

Water

TXDPS will continue to replace existing hardware with more efficient, low flow devices when opportunities are presented (e.g. sink, faucet, and toilet replacements).

TXDPS is implementing Xeriscaping on all new designing and layouts.

Implementation Schedule

The Department of Public Safety makes an effort to implement energy conservation measures whenever possible.  As renovations occur in agency buildings, the Department of Public Safety will take opportunities to install energy conservation devices whenever feasible and when resources allow.

Finance Strategy

The Department will continue to request funding from the Legislature for energy conservation endeavors.  Additionally, the Department will seek out opportunities to obtain grants / rebates (for the installation of conservation devices) from energy providers and municipalities.

Gasoline

There are two distinct components to gasoline usage by fleet vehicles: Commission (Law Enforcement) and Non-Commission (Administrative).  As the use of Commission vehicles is necessary for the proper protection of the State and execution of officers’ duties, the primary conservation measures for gasoline consumption to date have been focused on the Administrative section of the Agency. Unnecessary travel has been eliminated.  Attempts have been made to consolidate trips and carpool whenever feasible.

Employee Awareness Plan

The Texas Department of Public Safety’s General Manual clearly outlines conservation measures in its Chapter 16: Building Use and Energy Conservation. Additionally, ideas, policies, and new protocols are sometimes disseminated through agency-wide e-mail distribution.

Designated Contact Person

Darren Lubbock		Darren.Lubbock@dps.texas.gov

Director, Facilities MEP & Environmental

Mark Blomquist		Mark.Blomquist	@dps.texas.gov

Energy / Environmental Program Manager